NEW MILFORD DEPARTMENT

TOWN HALL – 10 MAIN STREET

(860) 355-6035	                              NEW MILFORD, CT  06776                              FAX (860) 210-2664

SEPTIC APPLICATION FOR PLAN APPROVAL AND PERMIT TO CONSTRUCT

The undersigned hereby applies for a plan approval and a permit to install or repair a sewage disposal system which will include a:

Septic Tank   Leaching System   Pump Chamber   Grease Trap   Curtain Drain

| Location |  |
| --- | --- |
|  | Street # | Street Name |  |
| Assessor Map |  | Block |  | Lot |  | Subdivision Name |  | Lot |  |
| Owner(s) of Record |  |
| Mailing Address |  |
| Installer |  | License # |  |
| Mailing Address |  | Phone # |  |

GENERAL INFORMATION

Check or answer all that apply

| Residential | Number of Bedrooms |  |
| --- | --- | --- |
| Commercial/Industrial | Design Criteria |  |
| Water Supply: | New | Existing | Type: |  | Buried Oil Tank |
| Wetland or watercourse within 100 feet of septic area. If so, silt fence must be installed. |
| Swimming Pool | Above Ground | Below Ground |  |
| Jacuzzi/Whirlpool | Capacity in Gallons: |  |
| Curtain Drain | Foundation Drains |  |  |
| Basement Plumbing Fixtures | Type: |  |
| Deck | Attached | Detached Structures (barn, shed, etc.) |
| Property Distance to nearest public water supply connection (if less than 200 feet) |  |
| Easement/Deed Restrictions Yes No |  |

NEW CONSTRUCTION ONLY

I propose to dispose of building debris and stumps, which result from development of this property in the follow manner:

(burial in not a disposal option ) ___________________________________________________________________

The applicant understands that all records of the New Milford Health Department are public and that the results of any tests conducted by the Department may be viewed upon request.  The applicant also must obtain a Connecticut licensed subsurface sewage disposal system installer before performing the work.  It is also understood that a sewage disposal system permit is valid for a period of one year from the date of issuance and shall expire upon failure to start construction within that period.

APPLICANT SIGNATURE  _______________________________________________ DATE ____________

INSTALLER’S SIGNATURE  ______________________________________________ DATE ____________

PLAN REVIEW CHECK LIST – NON-ENGINEERED SYSTEMS

NAME ___________________________________________  DATE RECEIVED________________

LOCATION_______________________________________   LOT # _________________________

Plot plan/diagram of lot showing dimensions of property lines

Location of house and driveway

Septic tank location, size and manufacture

Building sewer line to septic tank and length of sewer line

If applicable, pump chamber location, size distance between float

Leaching system layout (trenches, pits, bed or galleries with leaching lengths, depth and on-center dimensions)

Bottom of leaching system 18 inches above maximum ground water __4 feet above ledge rock __

Computation of leaching area provided.  Example: 165 lineal ft of 3 ft. wide leaching trench = 495 sq. ft.

Location of effluent distribution piping and boxes – serial distribution  ___  level system ___

If applicable, amount of fill showing simple cross section of leaching system and fill

Written description of required leaching area by code and basis of design whether residential or     commercial / retail. Large capacity discharging – type bathtub?

Examples:  4 BR house, 5 min. / inch  perc / = .500 square ft.

30 employees x 30 GPD per employee = 600 GPD / 1.6

10 minute per. = 375 square ft.

Location of any ledge rock outcroppings, wet surface area, old bury holes, filled-in foundations, etc.

Well location or water service lines on property with distance noted to septic system

MLSS calculation included on plan and acceptable

Curtain drain required___. Depth of drain, location and discharge if applicable.

Location of footing drain discharges, storm drains in roads, streams, brooks, drainage swales, or other watercourses.

Location of any existing structures on same lot (i.e. sheds, barns, etc. and location of houses and other structures on adjacent lots)

Location of attached decks

Location of buried oil tanks

Location of reserve area and layout of leaching system

List of all variances required

Necessary letters of variance received or sign off letter from owner obtained

Building plans submitted ___ # of bedrooms or possible bedrooms ( with closet and / or bathroom)

Total square feet of house _____. Leaking of any fixtures

COMMENTS:

HEALTH DEPARTMENT USE ONLY

New    Repair    Building Plan Reviewed    Plan Approved:  Date: _____________

Total Fees Paid: $__________ 	Check#: ___________	Date: ___________

Soil Testing $100        Eng. Plan Review $200/per Lot     New Septic $250

Septic Repair $125/Tank only Repair $75.00

Septic Permit Approved Date: _____________________________  Permit # __________________

Well Permit Approved Date: ______________________________   Permit # __________________

Completion Report Rec’d. Date: ______________  Water Analysis Rec’d. Date: ________________

Final As-built Rec’d. Date: ___________________________

Permit to Discharge Approved Date: ___________________