AN ORDINANCE REQUIRING STRUCTURES TO HAVE A KEY LOCK BOX INSTALLED ON THE EXTERIOR FOR FIRE SAFETY PURPOSES

WHEREAS, the Town Council of the Town of New Milford, Connecticut has determined that the health, safety and welfare of the citizens of New Milford are promoted by requiring certain structures to have key lock box entry systems installed on the exterior; and

WHEREAS, the key lock box entry system is being adopted nationally and will operate on a master key basis that will expedite entry into structures by the New Milford fire departments during times of emergency; and

WHEREAS, the key lock box entry system will eliminate forced entries into structures thereby avoiding costly and time-consuming efforts in gaining access to locked structures during and emergency; and

WHEREAS, the Town Council of the Town of New Milford is authorized to pass this ordinance.

NOW THEREFORE, BE AND IT IS HEREBY ORDAINED, that the following is adopted in the New Milford Code of Ordinances:

Add to § 2A-22 Definitions:

Lock Box: An Underwriter’s Laboratory type secured box or vault of a size and style approved by Fire Marshal or his designee, which contains key(s) for the exclusive use of the New Milford fire departments to access the premises in an emergency.

(NEW SECTION):

§ 2A-41.   Key Lock Box Required.

The following structures equipped with or required to be equipped with fire detection or fire suppression systems or equipment shall have a Lock Box installed at or near the main entrance or such other location as required by the Fire Marshal or his designee:

- Commercial or industrial structures protected by an automatic alarm system or automatic suppression system, or such structures that are secured in a manner that restricts access during an emergency.

- Governmental structures, schools and nursing care facilities.

- Multi-family residential structures that have restricted access through locked doors and have a common corridor for access to living units;

- Single family homes larger than five thousand (5,000) square feet when the premises are protected by an automatic alarm system or automatic suppression system, or such structure is secured in a manner that restricts access during an emergency. Single family residential dwelling of 5,000 square feet or less having an independent means of ingress and egress shall, however, be exempt from this requirement.

- Any business or residence premises from which emanated two (2) false alarms within a consecutive 12 month period.

Businesses, firms or other entities that are legally required to maintain customer, client, trade or patient confidentiality shall be exempt from this requirement. Businesses, firms or other entitities that provide sensitive personal services, or that routinely store or handle potentially hazardous or expensive, rare or unique materials may, in the discretion of the Fire Marshal, be exempted from this requirement.

Any property owner not otherwise exempt may opt out of the lock box program if such owner or owner’s authorized insurance agent furnishes the Fire Marshal with a letter of understanding from the insurer of the subject premises directed to the Town of New Milford and all New Milford fire departments and acknowledging its understanding that the New Milford fire departments are not authorized to obtain access to the premises during an emergency by way of a lock-box key, and that damage resulting from forced emergency entry may occur. Additionally all owners of such premises shall execute and deliver to the Fire Marshal an agreement, in the form and substance required by the Fire Marshal, holding the Town of New Milford and New Milford fire departments free, harmless and indemnified from any claim for forced emergency entry damage or delayed access.

Any owner of single-family, residential property in which the owner resides that is not otherwise exempt may opt out of the lock box program by furnishing a writing to the Fire Marshal signed by each record owner of such property notifying the Fire Marshal that such owner elects not to participate in the program.

Owners of properties subject to this ordinance shall be sent notification of the lock box program requirements and the exemption and opt out conditions within 60 days after the effective date of this provision and at least 90 days before the date of the commencement of the program. Such notice shall be sent by regular sent to the name and address of record in the assessor’s office by the Fire Marshal.

(NEW SECTION):

§ 2A-42.   Installation and Location.

- The Fire Marshal or his designee shall approve in writing the type of Lock Box.

- The Fire Marshal or his designee shall approve the installation location of the Lock Box.

- The Lock Box shall be installed in a manner approved by the Fire Official/Administrator.

- The Fire Marshal or his designee shall require a Lock Box tamper switch connected to the building’s fire alarm system.

- The owner of a structure required to have a Lock Box shall, at all times, keep one or more keys in the Lock Box necessary to gain access to the structure, as required by the Fire Marshal or his designee;

- The owner of a structure required to have a Lock Box shall, at all time, keep in the Lock Box a list of hazardous materials present on site in significant quantities and identify the storage location of such hazardous materials.

(NEW SECTION):

§ 2A-43.   Maintenance.

In the event, the key to the structure is changed or re-keyed, the owner / operator of the building shall immediately notify the Fire Marshal/Designee and provide the updated access key. The key to the lock shall be secured in the key box.

(NEW SECTION):

§ 2A-44.   Compliance.

- The owner(s) of a structure subject to this ordinance, in existence on the effective date of this ordinance, shall have one (1) year from its effective date to comply with this ordinance.

- The owner(s) of each newly constructed structure subject to this ordinance shall have a lock box installed and operational in accordance with this ordinance prior to issuance of a certificate of occupancy.

(NEW SECTION)

2A-45. Violations and Penalties.

Any building owner or operator violating any provision of this Lock Box Ordinance shall be subject to a fine of $100.00 for every violation of this ordinance.

The existence of a violation for a period of up to 30 continuous days, shall constitute a single violation.

The Administrator designated under § 2A-23 shall notify the responsible party of any violation, by mail. Within 30 days of the mailing of such notice, the owner/operator may correct the violation or show why the structure was not subject to this ordinance.

The Administrator shall consider such information, reaffirm or rescind the Lock Box fine and notify the owner of its decision by mail.  Within 30 days after the mailing of such notice the Owner/operator may file and appeal with the Alarm Appeal Board an appeal, in writing.

Amend § 2A-24 to read as follows:

- There shall be in the Town an Alarm Appeals Board that shall have the powers and duties to hear appeals under this Article.

Amend § 2A-31 by adding “lock box violation” and “lock box” to section to read as follows:

Upon receipt of a timely appeal from a false alarm charge, registration suspension or Lock Box violation, the Alarm Appeal Board shall hold a hearing to consider it and shall mail notice of the time and place of said hearing to the alarm user or structure owner/operator taking the appeal at his last known address, at least 15 days before the hearing. On the basis of information provided by the alarm user or structure owner/operator and other information introduced at the hearing, the Board shall affirm the charge or suspension, if it finds that the charge or suspension was properly imposed, or rescind the charge or suspension, if it finds the charge or suspension was not properly imposed.